## MUDBENCS Results
SAMPLES | [5 empty] | QCs |  |  |  |  | REFERENCE SAMPLE REPRODUCIBILITY |  |  |  |  | RMNS
| Phosphate | N+N | Silicic Acid | NItrite |  |  | Phosphate | N+N | Silicic Acid | NItrite |  | Phosphate | N+N | Silicic Acid | NItrite |  | Phosphate | N+N | Silicic Acid | NItrite
| µmol/L | µmol/L | µmol/L | µmol/L |  |  | µmol/L | µmol/L | µmol/L | µmol/L |  | µmol/L | µmol/L | µmol/L | µmol/L |  | µmol/L | µmol/L | µmol/L | µmol/L
1:4 dilution
MUDBENCS 1 | 0.055 | <LOD | 0.521 | <LOD |  | STD5 | 0.491 | 5.585 | 4.923 | 0.21 | Diluted sample | 1.46 | 13.484 | 135.44 | 0.12 | CL-0126 | 0.049 | 1.931 | 14.126 | 0.558
MUDBENCS 4 | 0.574 | 16.679 | 131.932 | <LOD |  | STD5 | 0.483 | 5.709 | 4.923 | 0.221 |  | 1.372 | 13.576 | 136.944 | 0.124 | CL-0126 | 0.044 | 1.944 | 14.245 | 0.512
MUDBENCS 5 | 0.394 | 19.544 | 119.184 | 0.178 |  | STD5 | 0.517 | 5.686 | 4.915 | 0.205 |  | 1.436 | 13.476 | 139.252 | 0.112 | CL-0126 | 0.053 | 1.949 | 14.814 | 0.557
MUDBENCS 6 | 0.548 | 18.906 | 132.412 | <LOD |  | STD5 | 0.509 | 5.84 | 4.824 | 0.208 | [5 empty] | CL-0126 | 0.046 | 2.072 | 13.94 | 0.489
MUDBENCS 8 | 0.557 | 9.763 | 42.99 | <LOD |  | STD5 | 0.509 | 5.9 | 5.084 | 0.196 | AVERAGE | 1.4227 | 13.512 | 137.212 | 0.11867 | CL-0126 | 0.052 | 1.993 | 15.896 | 0.483
MUDBENCS 9 | 0.56 | 2.703 | 39.302 | 0.12 |  | STD5 | 0.5 | 5.786 | 5.039 | 0.206 | STDEV | 0.04549 | 0.05557 | 1.9201 | 0.0061101
MUDBENCS 10 | 0.255 | <LOD | 12.017 | <LOD |  | STD5 | 0.492 | 5.766 | 5.067 | 0.207 | RSD | 3.1975 | 0.41126 | 1.3994 | 5.149 | AVERAGE | 0.0488 | 1.9778 | 14.6042 | 0.5198
MUDBENCS 11 | 0.247 | <LOD | 25.189 | <LOD |  | STD5 | 0.492 | 5.729 | 5.049 | 0.21 | [5 empty] | STDEV | 0.0038341 | 0.057591 | 0.79241 | 0.036079
MUDBENCS 12 | 0.34 | 0.906 | 21.015 | 0.125 | [11 empty] | RSD | 7.8567 | 2.9119 | 5.4259 | 6.941
MUDBENCS 15 | 0.259 | <LOD | 5.643 | <LOD |  | AVERAGE | 0.49912 | 5.7501 | 4.978 | 0.20788 | LODs: Limits of Detection
MUDBENCS 16 | 0.308 | <LOD | 5.444 | <LOD |  | STDEV | 0.011606 | 0.096802 | 0.093849 | 0.0069166
MUDBENCS 17 | 0.154 | <LOD | 4.1 | <LOD |  | RSD | 2.3252 | 1.6835 | 1.8853 | 3.3273 |  | Phosphate | N+N | Silicate | NItrite
MUDBENCS 18 | 0.224 | 0.587 | 3.91 | 0.233 | [7 empty] | µmol/L | µmol/L | µmol/L | µmol/L | CO-1417 | 0.71 | 8.35 | 36.669 | 0.419
MUDBENCS 20 | 0.374 | 0.698 | 10.243 | 0.239 | [11 empty] | CO-1417 | 0.748 | 8.751 | 37.953 | 0.455
MUDBENCS 21 | 0.253 | <LOD | 14.648 | <LOD | [6 empty] | LODs | 0.0081056 | 0.0161 | 0.030989 | 0.02811 | CO-1417 | 0.69 | 8.338 | 35.804 | 0.394
139-18-B | 0.255 | 0.861 | 5.096 | 0.324 | [11 empty] | CO-1417 | 0.773 | 8.283 | 36.184 | 0.375
139-17-MID2 | 0.219 | 1.612 | 4.228 | 0.486 | [11 empty] | CO-1417 | 0.833 | 8.268 | 35.855 | 0.378
139-20-D | 0.306 | 0.492 | 9.89 | 0.122
139-19-S | 0.139 | 10.841 | 101.656 | 0.478 | [11 empty] | AVERAGE | 0.7508 | 8.398 | 36.493 | 0.4042
139-01 MARINE SULFATE | 0.117 | 0.168 | 0.775 | <LOD | [11 empty] | STDEV | 0.056167 | 0.2004 | 0.88598 | 0.033327
139-19-D ISO | 0.155 | 11.455 | 96.6624 | 0.582 | [11 empty] | RSD | 7.4809 | 2.3863 | 2.4278 | 8.2452
139-05-D | 0.458 | 21.867 | 124.56 | 0.275
139-09-D | 0.601 | 10.107 | 19.379 | 0.046
139-15-D | 0.44 | 1.742 | 8.259 | 0.407
139-05-D ISO | 0.506 | 9.587 | 43.149 | <LOD
139-14-S | 0.121 | 5.401 | 6.829 | 0.215
139-02-DCM | 0.116 | 0.485 | 0.675 | <LOD
139-13-S | 0.279 | 7.619 | 26.852 | 0.609
139-04-D | 0.576 | 16.225 | 137.212 | 0.07
139-17-MID1 | 0.244 | 0.754 | 3.349 | 0.115
139-18-D | 0.415 | 3.054 | 10.302 | 1.075
139-14-S | 0.12 | 5.326 | 3.512 | 0.19
139-14-S | 0.636 | 15.171 | 116.464 | 0.081
139-07-D ISO | 0.217 | 0.477 | 7.7 | 0.205
139-01 MARINE | 0.128 | 0.135 | 0.822 | <LOD
139-18-MID1 | 0.264 | 0.793 | 5.163 | 0.312
139-16-D | 0.251 | 1.176 | 4.694 | 0.617
139-14-D ISO | 0.135 | 4.601 | 3.554 | 0.169
139-11-D | 0.269 | 3.103 | 3.944 | 1.361
139-17-D | 0.201 | 1.725 | 4.514 | 0.598
139-18-MID2 | 0.278 | 0.788 | 5.086 | 0.337
139-17 SW INTERFACE | 0.302 | 1.842 | 8.846 | 0.583
139-21-MID1 | 0.255 | 0.313 | 8.301 | 0.102
139-21-MID2 | 0.339 | 1.135 | 8.903 | 0.101
139-11-D | 0.281 | 1 | 2.398 | 0.179
139-13 ESTUARY FILM | 0.259 | 4.407 | 95.716 | 0.169
POREWATER SAMPLES - Diluted 1:10
[5 empty] | Phosphate | N+N | Silicate | NItrite
[5 empty] | µmol/L | µmol/L | µmol/L | µmol/L
STN11 | 0.169 | 0.726 | 3.813 | 0.202 | 1.69 | 7.26 | 38.13 | 2.02
STN8 SW INTERFACE | 0.176 | 1.019 | 2.161 | 0.017 | 1.76 | 10.19 | 21.61 | 0.17
STN7 MC06 B | 0.186 | 1.483 | 14.283 | 0.038 | 1.86 | 14.83 | 142.83 | 0.38
STN17 SW INT | 0.241 | 1.388 | 10.545 | 0.176 | 2.41 | 13.88 | 105.45 | 1.76
STN 15 | 0.257 | 0.629 | 4.915 | 0.059 | 2.57 | 6.29 | 49.15 | 0.59
STN21 | 0.163 | 0.695 | 2.6 | 0.112 | 1.63 | 6.95 | 26 | 1.12
STN20 (2S) | 0.146 | 1.185 | 2.848 | 0.182 | 1.46 | 11.85 | 28.48 | 1.82
STN10 | 0.239 | 0.397 | 4.507 | 0.115 | 2.39 | 3.97 | 45.07 | 1.15
STN18 | 0.244 | 0.776 | 4.348 | 0.093 | 2.44 | 7.76 | 43.48 | 0.93
STN16 | 0.222 | 0.796 | 2.854 | 0.125 | 2.22 | 7.96 | 28.54 | 1.25
STN12 | 0.19 | 2.899 | 2.251 | 0.076 | 1.9 | 28.99 | 22.51 | 0.76
STN4 | 0.189 | 1.409 | 9.992 | 0.043 | 1.89 | 14.09 | 99.92 | 0.43
Note on O5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Low concentrations are subject of high errors after sample dilution. The purpose of these numbers is to show the reproducibility of the measurements. Only Silicic Acid concentration was used for final results

## readme
All the Silicic Acid conc out of the calibration range have been verified thru dilution 1:4.
Results highlighted in yellow come from the dilution run. I kept original values for the other channels since dilution brings high uncertanty in low concentrations.
The previous version of this file has the original (undiluted) Silicic Acid concentrations.
The dilution 1:10 of porewater worked very well
LODs are calculated as 3 x the standard deviation of 5 replicate analyses of the lowest standard